: Switch the machine on and off

Short press for two seconds to turn on and off

M key: Function key

Screen Saver: Off ·30 seconds ·1 minute ·2 minutes (optional)

Automatic shutdown: Off ·3 minutes ·5 minutes ·10 minutes

Hz Light source: 50Hz·60Hz

Language options :16 language options

When the adjustment date: year, month, day |, minutes, seconds

Format: YES/NO

Default setting: YES/NO

V. Version 1.0; Version: H69G - V1.0-20190824

In video mode:

Resolution: 1080FHD, 720P, VGA

Cyclic recording: Turn off /3 minutes /5 minutes /10 minutes. When the flash memory card is full, the first recording data will be deleted and then the recording will be saved.

High dynamic range of HDR: On/off (When on, the recording function will be automatically opened if something moves under the camera, without manual operation.)

Exposure compensation: 7 speed options

Date label: The screen can be selected to show/close - date time

In photo mode:

Photo delay: Single shot ·2 seconds ·5 seconds ·10 seconds

Photo pixel: 1.3M·2M·5M·8M·10M·12M

Consecutive beat: 3 consecutive beats

Photo quality: Quality, Standard and compression

Sharpness: Strong, standard, soft

Color: No · black and white · Nostalgia

ISO: Automatic ·100·200·400

Exposure Compensation: 7 stops to choose from

Photo aid: Anti hand shock open/close

Date label: On/off

Storage space:

Watch: Up · Down remove protection

D key: Mode key:

Switch: Camera mode · Photo Mode · Playback Mode:

Scroll up key, scroll down key, OK key (take photo/video, open key)

1: Power supply DC port (Micro USB).

2: Flash memory card socket (MicroSD), supporting 1-128GB. More than Class10 speed

3: light brightness regulator.

4: REST key, system restore button. (If the machine cannot be operated, please press the button in the hole with a needle-shaped sharp object to restart the machine)

5: Highlight 8 LED lights, continuous service life of up to 100,000 hours.